## Hauptliste
Catalog SENVION - Construction site returns from an offshore wind farm project
Pos | Standort | Anz | Bez | Fabrikat | Typ | Bj | Beschr
70000 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root Adapter (Offshore) |  | RE74.4 (6M152) | 2018 | serial no. 705289-83040-019, empty weight 1,608.7 kg, load capacity 19,000 kg
70001 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root Adapter (Offshore) |  | RE74.4 (6M152) | 2018 | serial no. 705289-83040-008, empty weight 1,608.7 kg, load capacity 19,000 kg
70016 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root LO |  | RE 74.4 (6M152) | 2018 | Nameplate missing, empty weight 2,839.6 kg, rated capacity 24,000 kg
70017 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root LO |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83043-005, empty weight 2,839.6 kg, nominal load capacity 24,000 kg
70018 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root LO |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83043-008, empty weight 2,839.6 kg, nominal load capacity 24,000 kg
70019 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root LO |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83043-012, empty weight 2,839.6 kg, nominal load capacity 24,000 kg
70020 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root LO |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83043-014, empty weight 2,839.6 kg, nominal load capacity 24,000 kg
70021 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root LO |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83043-010, empty weight 2,839.6 kg, nominal load capacity 24,000 kg
70038 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root UP (intermediate frame) |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83042-005, net weight 1,484.1 kg
70039 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade root UP (intermediate frame) |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83042-006, net weight 1,484.1 kg
70062 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade TIP UP (intermediate frame) |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83066-004, net weight 2,200.9 kg
70063 | 27572 Bremerhaven, Seewindstr. 4; | 1 | TF blade TIP UP (intermediate frame) |  | RE 74.4 (6M152) | 2018 | ser. no. 705289-83066-009, net weight 2,200.9 kg
70064 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Transport Frame TIP Clamp |  | RE 74.4 (6M152) (Upper/Lower Part) | 2018 | ser. no. 706102-83069-013, 706102-83067-013, net weight 1,099/661.2 kg
70065 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Transport Frame TIP Clamp |  | RE 74.4 (6M152) (Upper/Lower Part) | 2018 | ser. no. 706102-83069-030, 706102-83067-022, net weight 1,099/661.2 kg
70066 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Transport Frame TIP Clamp |  | RE 74.4 (6M152) (Upper/Lower Part) | 2018 | ser. no. 706102-83069-036, 706102-83067-041, net weight 1,099/661.2 kg
70067 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Transport Frame TIP Clamp |  | RE 74.4 (6M152) (Upper/Lower Part) | 2018 | ser. no. 706102-83069-041, 706102-83067-036, net weight 1,099/661.2 kg
70069 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Transport Frame TIP Clamp |  | RE 74.4 (6M152) (Upper/Lower Part) | 2018 | ser. no. 706102-83069-010, 706102-83067-004, net weight 1,099/661.2 kg
70070 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Transport Frame TIP Clamp |  | RE 74.4 (6M152) (Upper/Lower Part) | 2018 | ser. no. 706102-83069-021, 706102-83067-021, net weight 1,099/661.2 kg
70142 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame Storage TIP | BN-TECH | RE 74.4/RE 61.5 | 2018 | ser. no. 705235-86054-050, net weight 978 kg
70154 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame Storage TIP | BN-TECH | RE 74.4/RE 61.5 | 2018 | ser. no. 705235-86054-018, net weight 978 kg
70155 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame Storage TIP | BN-TECH | RE 74.4/RE 61.5 | 2018 | ser. no. 705235-86054-045, net weight 978 kg
70156 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame Storage TIP | BN-TECH | RE 74.4/RE 61.5 | 2018 | ser. no. 705235-86054-075, net weight 978 kg
70157 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame Storage TIP | BN-TECH | RE 74.4/RE 61.5 | 2018 | ser. no. 705235-86054-072, net weight 978 kg
70158 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame Storage TIP | BN-TECH | RE 74.4/RE 61.5 | 2018 | ser. no. 705235-86054-011, net weight 978 kg
70223 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Blade bearing frame (root) | BN-TECH | Wurzel Rahmen RE 74.4 (6M152) | 2019 | ser. no. 705235-80756-014, net weight 395 kg
70224 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Blade bearing frame (root) | BN-TECH | Wurzel Rahmen RE 74.4 (6M152) | 2019 | ser. no. 705235-80756-013, net weight 395 kg
70225 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Blade bearing frame (root) | BN-TECH | Wurzel Rahmen RE 74.4 (6M152) | 2019 | ser. no. 705235-80756-012, net weight 395 kg
70226 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Blade bearing frame (root) | BN-TECH | Wurzel Rahmen RE 74.4 (6M152) | 2019 | ser. no. 705235-80756-043, net weight 395 kg
70227 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Blade bearing frame (root) | BN-TECH | Wurzel Rahmen RE 74.4 (6M152) | 2019 | ser. no. 705235-80756-040, net weight 395 kg
70228 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Blade bearing frame (root) | BN-TECH | Wurzel Rahmen RE 74.4 (6M152) | 2019 | ser. no. 705235-80756-006, net weight 395 kg
70275 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport frame (root) | Hawart | RE 74.4 Blade Transport Fixture Root |  | ser. no. 18-444.2_RTF74.4-004, empty weight 800 kg, nominal load capacity 21,000 kg
70279 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport frame (root) | Hawart | RE 74.4 Blade Transport Fixture Root |  | ser. no. 18-444.2_RTF74.4-002, empty weight 800 kg, nominal load capacity 21,000 kg
70281 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport frame (root) | Hawart | RE 74.4 Blade Transport Fixture Root |  | ser. no. 18-444.2_RTF74.4-012, empty weight 800 kg, nominal load capacity 21,000 kg
70284 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Top | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-87-0049, empty weight 810 kg, nominal load capacity 11,000 kg, stackable up to 3 high
70287 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Top | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-87-0155, empty weight 810 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70297 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Top | Hawart | RE 61.5/LM 61.5 | 2011 | ser. no. 11-077-87-0209, empty weight 810 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70298 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Top | Hawart | RE 61.5/LM 61.5 | 2011 | ser. no. 11-077-87-0215, empty weight 810 kg, nominal load capacity 11,000 kg, stackable up to 3 high
70299 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Top | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-87-0137, empty weight 810 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70300 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Top | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-87-0156, empty weight 810 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70335 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Bottom | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-86-0099, empty weight 1,180 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70336 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Bottom | Hawart | RE 61.5/LM 61.5 | 2010 | (type plate not readable), net weight 1,180 kg, rated capacity 11,000 kg, stackable in 3 tiers
70337 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Bottom | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-86-0072, empty weight 1,180 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70338 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Bottom | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-86-0073, empty weight 1,180 kg, nominal load capacity 11,000 kg, stackable up to 3 high
70339 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Bottom | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-86-0119, empty weight 1,180 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70340 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Leaf transport rack TIP Bottom | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-86-0100, empty weight 1,180 kg, nominal load capacity 11,000 kg, stackable in 3 tiers
70375 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame transport rack | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-88-0135, empty weight 220 kg, nominal load 17,700 kg, stackable up to 3 high
70376 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame transport rack | Hawart | RE 61.5/LM 61.5 | 2011 | ser. no. 11-077-88-0191, empty weight 220 kg, nominal load 17,700 kg, stackable up to 3 high
70377 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame transport rack | Hawart | RE 61.5/LM 61.5 | 2011 | ser. no. 11-077-88-0211, empty weight 220 kg, nominal load 17,700 kg, stackable up to 3 high
70378 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame transport rack | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-88-0130, empty weight 220 kg, nominal load 17,700 kg, stackable up to 3 high
70379 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame transport rack | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-88-0032, empty weight 220 kg, nominal load 17,700 kg, stackable up to 3 high
70380 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Adapter frame transport rack | Hawart | RE 61.5/LM 61.5 | 2010 | ser. no. 311P10-88-0116, empty weight 220 kg, nominal load 17,700 kg, stackable up to 3 high
70404 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Load distribution frame TIP | Hawart | RE 61.5 TIP | 2010 | ser. no. 389P10-77-0013, empty weight 1,300 kg, nominal load capacity 37,900 kg
70409 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Load distribution frame TIP | Hawart | RE 61.5 TIP | 2010 | ser. no. 389P10-77-0020, empty weight 1,300 kg, nominal load capacity 37,900 kg
70422 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Load distribution frame root | Hawart | RE 61.5 |  | (type plate not readable), dead weight 1,200 kg, rated capacity 55,400 kg
70423 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Load distribution frame root | Hawart | RE 61.5 |  | (type plate not readable), dead weight 1,200 kg, rated capacity 55,400 kg
70460 | 27572 Bremerhaven, Seewindstr. 4; | 68 | Concrete support blocks Tower 1st section | Cux-Beton | WLL90 |  | L/W/H approx. 2.500/1.400/1.800mm
70461 | 27572 Bremerhaven, Seewindstr. 4; | 192 | Concrete support blocks middle/upper section Tower |  | WLL50
70463 | 27572 Bremerhaven, Seewindstr. 4; | 26 | Concrete bearing blocks Blade bearing |  | WLL15 |  | L/W/H 1,600/1,000/1,050 mm
70469 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Vibration damper tower | Gerb | PSWT-7,25t-0.6-0.75Hz W |  | Serial No 20.7, Commission No B-0819-18
70470 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Vibration damper tower | Gerb | PSWT-7,25t-0.6-0.75Hz W |  | Serial No 20.3, Commission No B-0819-18
70475 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower S2 | Karl Wrede | Auflastung OB S2 | 2018 | ser. no. 2040618, empty weight 4,000 kg, nominal load capacity 280/400,000 kg
70476 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower S2 | Karl Wrede | Auflastung OB S2 | 2018 | ser. no. 1040610, empty weight 4,000 kg, nominal load capacity 280/400,000 kg
70484 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower S1 | Karl Wrede | Oberer Hebebalken S1 | 2018 | ser. no. 2280518, empty weight 3,900 kg, nominal load capacity 260,000 kg
70485 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower S1 | Karl Wrede | Oberer Hebebalken S1 | 2018 | ser. no. 4280518, empty weight 3,900 kg, nominal load capacity 260,000 kg
70487 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse Tower spreader | Karl Wrede | Spreize SWL265t | 2018 | Dead weight 4,600 kg, rated capacity 265,000 kg
70488 | 27572 Bremerhaven, Seewindstr. 4; | 1 | lifting traverse tower | Karl Wrede | Turmspreize SWL430t | 2018 | ser. no. 1020518, empty weight 4,000 kg, nominal load capacity 430,000 kg
70490 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse gondola | Karl Wrede | Gondeltraverse 6M+ | 2019 | ser. no. 3040419, empty weight 6,000 kg, nominal load capacity 480,000 kg
70491 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower direction 6M152 | Karl Wrede | UB S1/S2 | 2018 | ser. no. 21904xx, empty weight 860 kg, nominal load capacity 150,000 / 75,000 kg
70492 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower direction 6M152 | Karl Wrede | UB S1/S2 | 2018 | ser. no. 21904xx, empty weight 860 kg, nominal load capacity 150,000 / 75,000 kg
70493 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower direction 6M152 | Karl Wrede | UB S1/S2 | 2018 | ser. no. 2190418, empty weight 860 kg, nominal load capacity 150,000 / 75,000 kg
70494 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Lifting traverse tower direction 6M152 | Karl Wrede | UB S1/S2 | 2018 | ser. no. 21904xx, empty weight 860 kg, nominal load capacity 150,000 / 75,000 kg
70498 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Shackle | Testrot | PL4415KN | 2017 | ser. no. 1711256-028
70499 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Shackle | Testrot | PL4415KN | 2017 | Ser. no. 1711256-004
70502 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Shackle | Testrot | PL4415KN | 2017 | Ser.-Nr. 1711256-011/1711256-012
70503 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Capstan Winch (Left) (25330) | Electronic Wind Solutions | SWLL1000 kg | 2018 | serial no. P12155-09, empty weight 950 kg, drive: petrol unit, make Europower, type EP6500T
70504 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Capstan Winch (Left) (25384) | Electronic Wind Solutions | SWLL1000 kg | 2018 | serial no. P12155-18, empty weight 950 kg, drive: petrol unit, make Europower, type EP6500T
70506 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Assembly trestle | Karl Wrede |  | 2013 | ser. no. 7210113, support width 1,200 mm, height adjustable
70507 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Assembly trestle | Karl Wrede |  | 2013 | ser. no. 6210113, support width 1,200 mm, height adjustable
70508 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Assembly trestle | Karl Wrede |  | 2013 | ser. no. 9210113, support width 1,200 mm, height adjustable
70509 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Assembly trestle | Karl Wrede |  | 2013 | ser. no. 8210113, support width 1,200 mm, height adjustable
70513 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Cover tarpaulins tower |  |  |  | stored on approx. 35 pallets
70516 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Capstan Winch (78600501) | AH Industries | 100-1000 kg | 2012 | ser. no. 101237-01, empty weight 190 kg, SWL/WLL 1,000 kg, tractive force max. 10 kN
70517 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Capstan Winch (78000208)) | AH Industries | 100-1000 kg | 2014 | serial no. 2014/01, empty weight 190 kg, SWL/WLL 1,000 kg, tractive force max. 10 kN
70518 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Capstan Winch (78000208) | AH Industries | 100-1000 kg | 2014 | serial no. RE000088-02, empty weight 190 kg, SWL/WLL 1,000 kg, tractive force max. 10 kN
70519 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Capstan Winch (78600501) | AH Industries | 100-1000 kg | 2012 | ser. no. 101156-4, empty weight 190 kg, SWL/WLL 1,000 kg, tractive force max. 10 kN
70523 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Aluminium transport boxes | Oliver Wilhelm |  |  | Nominal load capacity per 450 kg
70524 | 27572 Bremerhaven, Seewindstr. 4; | 5 | Euro pallets |  |  |  | Content: Consumables
70525 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | Magnum plus 100.000 | 2012 | ser. no. 12-1206520-006-00001, L 24 m, stored in mesh transport box
70526 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | Magnum plus 100.000 | 2012 | ser. no. 12-1200224-011-00004, L 24 m, stored in mesh transport box
70527 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | Magnum plus 100.000 | 2013 | ser. no. 12-1222976-011-00001, L 24 m, stored in mesh transport box
70528 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | Magnum plus 100.000 | 2012 | ser. no. 12-1206520-007-00002, L 24 m, stored in grid transport box
70529 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | Magnum plus 100.000 | 2012 | ser. no. 12-1206520-005-00003, L 8,000 mm, stored in grid transport box
70531 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Sling shackle (Greenpin) | GP | WLL200 |  | ser. no. 19-NTS 1300179, testing until 08/20
70532 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Sling shackle (Greenpin) | GP | WLL200 |  | ser. no. 09-NTS 1300179, test until 08/20
70533 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Sling shackle (Greenpin) | GP | WLL200 |  | ser. no. 14-NTS 1300179, testing until 08/20
70534 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Sling shackle (Greenpin) | GP | WLL200 |  | ser. no. 17-NTS 13000179, test until 08/20
70535 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Sling shackle (Greenpin) | GP | WLL200 |  | ser. no. 03-NTS 1300179, testing until 08/20
70536 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | UKTA | WLL 6 t | 2019 | ser. no. 90484024, L 8.7 m, rubberised
70536/1 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | UKTA | WLL 6 t | 2019 | ser. no. 90484022, L 8,7 m, rubberized
70536/2 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | UKTA | WLL 6 t | 2019 | ser. no. 90484023, L 8,7 m, rubberised
70536/3 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | UKTA | WLL 6 t | 2019 | ser. no. 90484046, L 8.7 m, rubberised
70536/4 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | UKTA | WLL 6 t | 2019 | ser. no. 90484021, L 8,7 m, rubberised
70536/6 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | UKTA | WLL 6 t | 2019 | ser. no. 90484034, L 8.7 m, rubberised
70536/7 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | UKTA | WLL 6 t | 2019 | ser. no. 90484011, L 8,7 m, rubberised
70536/8 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | SpanSet | WLL 6 t |  | ser. no. 12-1814733-007-00007, L 8,7 m, rubberized
70536/9 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | SpanSet | WLL 6 t |  | ser. no. 12-1814733-007-00013, L 8,7 m, rubberized
70536/10 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | SpanSet | WLL 6 t |  | ser. no. 12-1814733-007-00009, L 8,7 m, rubberized
70537 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Provisional power supply to the 6M nacelle
70565 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Aluminium transport box (NSO Service 2) |  |  |  | Contents: 1 item sockets, torque support, etc.
70566 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Aluminium transport box | Zarges
70567 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Aluminium transport box | Zarges |  |  | Content: Torque arm, HYTORC connections, etc.
70568 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Bonfiglioli drive (turndrive) 6M | Viereck |  |  | year of construction, 2013/14, frame no. 1191213
70570 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Bonfiglioli drive (turndrive) 6M | Viereck |  |  | year of construction, 2013/14, frame no. 2191213
70576 | 27572 Bremerhaven, Seewindstr. 4; | 1 | leaf corset | SSP Geron | RE 74.4 | 2015 | ser. no. 14-01, 2 parts
70581 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Aluminium transport box |  |  |  | Contents: 1 lot of measuring instruments, ass. off: digital multimeter, make Fluke, type 1653B, 5 Duspole, make Tietzsch, type Multisafe DSP4, 10 direction of rotation indicator, make Fluke, type 9040, 5 digital multimeter, make Fluke, type 179
70582 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Aluminium transport box | Günzburger |  |  | Contents: 3 tool bags
70589 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. BBXU219638 (9)
70590 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. BBXU910993 (5)
70591 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. 266723 (6)
70592 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. BBXU200519 (0)
70593 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. CAXU335259
70594 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. CAIU229786 (2)
70596 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. CZZU254894 (7)
70597 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. CAIU243707 (5)
70598 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. ALLU520210 (4)
70599 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. WSCU385054 (0)
70601 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. CAXU317596 (3)
70602 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. GCAU349741 (7)
70603 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. WSCU387629 (3)
70605 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. WSCU383399 (0)
70606 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. WINU000016 (6)
70608 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. BBXU218831 (5)
70609 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. CAIU243831 (7)
70611 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container No. LCRU015449 (9)
70612 | 27572 Bremerhaven, Seewindstr. 4; | 1 | 20`- Sea container (standard box) |  |  |  | Container no. 101782 (9), capacity: 10 running metres. Storage rack, steel, galvanised, plugged in, media supply, lighting
70614 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Shackle (Green Pin) |  | WLL85 t |  | Ser. no. 200003715-6, 200003715-3
70615 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Shackle (Green Pin) |  | WLL150 t |  | Ser. no. LRROT1313837-045, LRROT1313837-046
70617 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling |  | WLL16 t |  | ser. no. D051418, L 15 m, rubberised
70618 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Edge protector for round slings |  |  |  | consisting of: 6 pcs, type Plus 100 t, L 3.000 mm, 5 pcs, type Magnum 100 t, L 12. m
70619 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Shackle (Green Pin) |  | WLL85 t |  | Ser. No. IHCHH14494, IHCHH14495, IHCHH14496
70620 | 27572 Bremerhaven, Seewindstr. 4; | 8 | Shackle (Green Pin) |  | WLL55 t |  | Ser. No. IHCHH14503, IHCHH14505, IHCHH14501, IHCHH14500, IHCHH14504, IHCHH14502, IHCHH14499, IHCHH14498
70621 | 27572 Bremerhaven, Seewindstr. 4; | 8 | Edge protector for round slings |  | Magnum 80 t |  | L per 10 m
70622 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Wideband sling | SpanSet | WLL16 t |  | ser. no. 12-1608384-003-00002, L 15 m, rubberised
70623 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL80 t Magnum plus |  | ser. no. 1023927-002-00003, L 10 m
70624 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | UKTA | WLL 2,0 t |  | serial no. 93840004, 93840003, L 4,000 mm
70625 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | UKTA | WLL 2,0 t | 2019 | serial no. 93840001, 93840002, L 5,000 mm
70626 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Round Slings | UKTA | WLL15 t |  | serial no. 93840009, 03840010, 03840011, 03840012, L 4,000 mm
70628 | 27572 Bremerhaven, Seewindstr. 4; | 8 | Round Slings | SpanSet | WLL20 t Magnum-X | 2016 | ser. no. 12-1816035-001-00002, 00006, 12-1608330-001-00004, 00005, 00006, 00007, 00008, 00009, L 5.000 mm
70629 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL80 t Magnum plus | 2011 | ser. no. 12-1023927-002-00006, L 10,000 mm
70630 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL80 t Magnum plus | 2011 | ser. no. 12-1023927-002-00005, L 10,000 mm
70631 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Safety equipment for blade storage |  |  |  | best: shackles, lashing straps, incl. ratchet, broad band strap, load hook, etc., stored on pallet
70633 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Safety equipment for blade storage |  |  |  | consisting of: 9 shackles (Green Pin), type WLL8,5 t, tension belts, ratchet, load hook, 2 shackles (Green Pin), type WLL9,5 t
70634 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | SpanSet | WLL100 t Magnum-X | 2014 | ser. no. 12-1400587-002-00006, - 00005, L 7,000 mm
70635 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL100 t Magnum-X | 2014 | ser. no. 12-1400587-002-00001, L 7,000 mm
70636 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL80 t Magnum-X |  | ser. no. 12-1023927-002-00004, L 10,000 mm
70637 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Chain suspension |  |  |  | ser. no. 13107, 4 strands, nominal load capacity 40 t, nominal chain thickness 22 mm, L approx. 4,000 mm
70638 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Chain suspension |  |  |  | ser. no. 13103, 2 strands, rated capacity 26,500 kg, nominal chain thickness approx. 22 mm
70639 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | UKTA | WLL150 t Extreema |  | ser. no. 2880710011, 2880710009, L 7,000 mm
70641 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL100 t Magnum plus |  | ser. no. 12-1206520-006-00002, L 24 m, 1 item edge protection, stored in a mesh box
70642 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Edge protection for round slings |  |  |  | consisting of: 2 pcs., 80 t, L 10.500 mm, 4 pcs., 80 t, L 4.000 mm, 1 pc., 80 t, L 20.000 mm, stored in pallet
70643 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Round Slings |  |  |  | consisting of: 1 pc., type WLL40 t Magnum, L 4,000 mm, ser. no. 12-1400587-003-00001, 2 pcs., type WLL10 t Magnum, L 3,000 mm, ser. no. 22-1812532-000-00010, 22-1812532-000-00028, 3 pcs., type WLL5 t, L 12 m, ser. no. HS196043, HS196230, HS196231
70644 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings (Black) |  | WLL150 t |  | ser. no. 2880710006, 2880710007, L each 5,000 mm
70645 | 27572 Bremerhaven, Seewindstr. 4; | 26 | Shackle (Green Pin) |  |  |  | best: WLL4.75 t, WLL6.5 t, WLL9.5 t, ser. no. 70684-26,31,33,08,07,11,19,32,17,30,25,29,09,04,12,21,06,23,03,01,20,10,16,14,02,18
70646 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Shackle (Green Pin) | GP | WLL85 t |  | serial numbers 14196, 14199, 14198, 14197
70651 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | SpanSet | WLL80 t Magnum plus |  | ser. no. 12-1023927-002-00001, -00002, L 10.000 mm, 2 shackles (green pin), type WLL85 t, ser. no. 200003715-04, 200003715-05
70654 | 27572 Bremerhaven, Seewindstr. 4; | 9 | Guide pins for nacelles |  |  |  | new, used
70655 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL100 t Magnum plus |  | ser. no. 12-1206520-005-00002, L 8,000 mm
70656 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL100 t Magnum plus |  | ser. no. 12-1206520-005-00004, L 8,000 mm
70657 | 27572 Bremerhaven, Seewindstr. 4; | 7 | Sling shackle (Green Pin) | GP | WLL125 t |  | ser. no. NTSO800099-02, - 07, - 20, -24, -27 , -28 , -33
70658 | 27572 Bremerhaven, Seewindstr. 4; | 1 | mobile charging station for pitch batteries (BHV 834.68) | Emerson SSB Wind Systems | Ladestation für 6M-SSB-und MOOG-Akkuboxen (30 Akkus) | 2017 | Serial no. G8-14 988 3, 1 item Accessories
70659 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Air dehumidifier (BHV 833.71) | Remko | AMT 40-E |  | serial no. 705T5390, dehumidification capacity max. 38 l/24 h, air output max. 290 m³/h, nominal consumption max. 3.9 A, power consumption max. 0.75 kW
70660 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Air dehumidifier (BHV 833.77) | Remko | AMT 40-E |  | serial no. 705T5361, dehumidification capacity max. 38 l/24 h, air output max. 290 m³/h, nominal consumption max. 3.9 A, power consumption max. 0.75 kW
70661 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Air dehumidifier (BHV 833.7) | Remko | AMT80-E |  | serial no. 707V5060, dehumidification capacity max. 80 l/24 h, air output max. 800 m³/h, nominal consumption 4.9 A, power consumption max. 1.1 kW
70664 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Hydraulic power unit Turn drive | Viereck | V60L | 2019 | ser. no. 18448, cooler
70665 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Hydraulic power unit Turn drive | Viereck | V60L | 2019 | ser. no. 18446, cooler
70668 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Datalogger for turn drive | imc | CRSL-2-RP-II | 2019 | Ser. no. 127199, order off: control unit, touchbook, make Panasonic, type CF-H2, remote control hydraulic unit, GPS antenna, aluminium transport box
70671 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Mixed pallet |  |  |  | consisting of: 1 lot guide pins nacelle + tower, stored on pallet
70673 | 27572 Bremerhaven, Seewindstr. 4; | 8 | Shackle (Green Pin) |  | WLL55 t |  | Ser. No. IHCHH13542, - 41, - 39, - 40, - 46, - 45, - 43, - 44
70674 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Round Slings |  | WLL50 t |  | Serial No. IHC14486/92234001, IHC13546/87831006, IHC14204/91008005, IHC14203/91008004, L each 6,000 mm
70676 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | UKTA | WLL215 t Extreema | 2019 | ser. no. 2880710004, 2880710001, L each 5,000 mm, 4 protective sleeves, type 200 Magnum
70692 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | UKTA | WLL215 t Extreema | 2019 | ser. no. 2880710003, 2880710002, L each 5,000 mm
70697 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Shackle (Green Pin) | GP | WLL150 t |  | Ser. no. LRROT1313837-039, LRROT1313837-040
70698 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | UKTA | WLL150 t Extreema |  | ser. no. 2880710005, L 5,000 mm
70699 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | UKTA | WLL150 t Extreema |  | ser. no. 2880710008, L 5,000 mm
70703 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | UKTA | WLL150 t Extreema |  | ser. no. 2880710009, 2880710011,L each 7.000 mm
70707 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Hydraulic Hose Sets | Dunlop | Highflex |  | suitable for hydraulic power unit Turndrive
70708 | 27572 Bremerhaven, Seewindstr. 4; | 10 | Hydraulic Hose Sets | Dunlop | Highflex Greenline |  | suitable for hydraulic power unit Turndrive
70709 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Oil cooler | Viereck |  | 2018 | ser. no. 18447, suitable for hydraulic power unit Turndrive, as good as new
70711 | 27572 Bremerhaven, Seewindstr. 4; | 5 | Mounting frames Turndrive drive |  |  |  | consisting of: 2 clamps above, 3 clamps below, stored on pallet
70712 | 27572 Bremerhaven, Seewindstr. 4; | 9 | Mounting frames Turndrive drive |  |  |  | consisting of: 6 clamps above, 3 clamps below, stored on 2 pallets
70713 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Load bags (large) | Hans AA | WLL400 kg
70714 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Load bags (large) | Hans AA | WLL400 kg
70715 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Load bags (large) | Hans AA | WLL400 kg
70716 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Load bags (large) | Hans AA | WLL400 kg
70717 | 27572 Bremerhaven, Seewindstr. 4; | 5 | Load bags (small) | Hans AA | WLL400 kg
70718 | 27572 Bremerhaven, Seewindstr. 4; | 13 | Load bags (small) | Hans AA | WLL400 kg
70719 | 27572 Bremerhaven, Seewindstr. 4; | 6 | Load bags (small) | Hans AA | WLL400 kg
70722 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Flight lights | Avlite | AV310.R
70723 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Flight lights | Avlite | AV310.R
70724 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Flight lights | Avlite | AV310.R
70726 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Cable for Turndrive |  |  |  | L 1.000 mm, Harting plug, in aluminium box, approx. 26 pcs.
70727 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Cable for Turndrive |  |  |  | L 1.000 mm, Harting plug, in aluminium box, approx. 40 pcs.
70728 | 27572 Bremerhaven, Seewindstr. 4; | 16 | Cable f. Anemometer |  |  |  | in aluminium transport box
70734 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Data logger Turndrive | imc | CRONUS SL |  | Ser. No. 127127, order off: Central Unit, Touchbook, Panasonic, Type CF-H2, Remote Control Turndrive, Connecting Boxes, 1 lot accessories cable, in 2 transport boxes
70735 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL200 t Magnum-X | 2017 | ser. no. 12-1620043-001-00010, L 4,500 mm
70736 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Round Slings | SpanSet | WLL200 t Magnum-X | 2017 | ser. no. 12-1620043-001-00013, -00015, L 4,500 mm
70738 | 27572 Bremerhaven, Seewindstr. 4; | 3 | Round Slings | SpanSet | WLL200 t Magnum-X |  | ser. no. 12-1620043-001-00005, -00011, -00001, L each 4.500 mm, as good as new
70739 | 27572 Bremerhaven, Seewindstr. 4; | 3 | Round Slings | SpanSet | WLL200 t Magnum-X |  | ser. no. 12-1620043-001-00002, -00014, -00008, L each 4.500 mm, as good as new
70740 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL100 t Magnum-plus |  | ser. no. 12-1200224-011-00001, L 24 m
70741 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Round Sling | SpanSet | WLL100 t Magnum-plus |  | ser. no. 12-1206520-007-00003, L 24 m
70751 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Hydraulic power unit Turndrive | Viereck | VL60 | 2019 | ser. no. 18449, oil cooler, hydraulic pump defective
70752 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Shackle (Green Pin) |  | WLL150 t |  | Ser. no. LRROT1313837-041, -043
70753 | 27572 Bremerhaven, Seewindstr. 4; | 8 | Shackle (Green Pin) |  | WLL55 t |  | ser. no. 14223, 14221, 14220, 14222, 14217, 14219, 14218, 14216, as good as new
70754 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Chain suspension |  |  |  | 4 strands, nominal chain thickness approx. 16 mm, L approx. 3,000 mm, chain shortener
70756 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Load bags |  |  |  | different version, approx. 6 pcs., partly defective
70757 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Shackle (Green Pin) |  | WLL150 t
70758 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Shackle | GP | WLL200 t
70761 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Load bags (large) |  | WLL400 kg
70762 | 27572 Bremerhaven, Seewindstr. 4; | 5 | Load bags (large) |  | WLL400 kg
70763 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Load bags (large) |  | WLL400 kg
70766 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Dyneema round slings | Gleichstein | WLL150 t |  | ser. no. 19-2876 006, 19-2876 008, L each 6,690 mm
70767 | 27572 Bremerhaven, Seewindstr. 4; | 2 | Dyneema round slings | Gleichstein | WLL90 t |  | ser. no. 19-2876-011, 19-2876-009, L each 16,900 mm
70768 | 27572 Bremerhaven, Seewindstr. 4; | 4 | Mounting frame Turndrive
70769 | 27572 Bremerhaven, Seewindstr. 4; | 1 | Control box Pitch 5M | Emerson SSB Wind Systems | Operating Box Four Blade Pitch System 5M | 2011 | ser. no. G8-09 3415, connection cable
70771 | 27572 Bremerhaven, Seewindstr. 4; | 1 Posten | Cable section residues copper |  |  |  | storing on 2 pallets
70774 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Fall protection device | Skylotec | Milan 2.0 | 2016 | ser. no. 321904-012, rope length 160 m, aluminium transport box
70775 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Finger sander | Würth | ESF500-E |  | Article no. 702470, transport box
70776 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Finger sander | Würth | ESF500-E |  | Article no. 702470, transport box
70777 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Finger sander | Würth | ESF500-E |  | Article no. 702470, transport box
70778 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Straight grinder | Würth | GSL700-E |  | Article no. 0702521X, 710 W/230 V
70779 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Straight grinder | Würth | GSL700-E |  | Article no. 0702521X, 710 W/230 V
70780 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Straight grinder | Makita | GD0800C |  | tool holder max. 25 mm, 750 W/230 V
70781 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | 6906 |  | tool holder 19 mm, 620 W/230 V
70782 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | 6906 |  | tool holder 19 mm, 620 W/230 V
70783 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | 6906 |  | tool holder 19 mm, 620 W/230 V
70784 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | 6906 |  | tool holder 19 mm, 620 W/230 V
70785 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric drill | Makita | DP3003 |  | 710 W/230 V, right/left
70786 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric drill | Makita | DP3003 |  | 710 W/230 V, right/left
70787 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric drill | Makita | DP3003 |  | 710 W/230 V, right/left
70788 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | TW1000 |  | Tool holder 25.4 mm, 1,200 W/230 V
70789 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | TW1000 |  | Tool holder 25.4 mm, 1,200 W/230 V
70790 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | TW1000 |  | Tool holder 25.4 mm, 1,200 W/230 V
70791 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | TW1000 |  | Tool holder 25.4 mm, 1,200 W/230 V
70792 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | TW1000 |  | Tool holder 25.4 mm, 1,200 W/230 V
70793 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Electric impact wrench | Makita | TW1000 |  | Tool holder 25.4 mm, 1,200 W/230 V
70794 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Industrial vacuum cleaner | Kärcher | NT 30/1 Tact L |  | 1,200 W/230 V
70795 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Industrial vacuum cleaner | Kärcher | T10/1 |  | 800 W/230 V
70796 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Battery vacuum cleaner | DeWalt | DCV584L |  | 300 W/230 V
70797 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Rechargeable vacuum cleaner (without battery) | DeWalt | DCV584L |  | 300 W/230 V
70798 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Rechargeable vacuum cleaner (without battery) | DeWalt | DCV584L |  | 300 W/230 V
70799 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 6 | Solar hazard lights (without grid box) | Avlite | AV310.R
70800 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Lockout Tagout Kit
70801 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Lockout Tagout Kit
70802 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Lockout Tagout Kit
70803 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | GRP repair set |  |  |  | Transport box
70807 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Surge protection test device | Dehn | DEHNrecord DRC LC M1&
70808 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Surge protection test device | Dehn | DEHNrecord DRC LC M1&
70809 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Cordless screwdriver set | Makita |  |  | best: cordless screwdriver, battery lamp, charger
70810 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Battery impact wrench | Milwaukee
70811 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Makita |  |  | 1 lot battery chargers,. Makita make
70812 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Orbital sander | Bosch | GEX150AC Professional |  | Toolbox
70813 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 4 | Cable reels | Brennenstuhl u.a.
70814 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Universal Battery Tester | Hioki | BT3554
70815 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Installation test device | Fluke | 1653B Multifunction Tester |  | Transport box
70816 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Installation test device | Fluke | 1652C Multifunction Tester |  | Transport box
70817 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Rust removal set (bolts) |  |  |  | in Toolbox
70818 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Rust removal kit |  |  |  | Toolbox
70819 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Soft soldering set (liquid gas) | Lorch |  |  | best: gas pressure vessel, handpiece, soldering attachment, toolbox
70820 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Rust removal set (bolts) |  |  |  | in Toolbox
70821 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Battery cable lug crimping pliers | Klauke | EK22-Plus
70822 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Battery cable lug crimping pliers | Klauke | EK22-Plus
70823 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Top-mounted liquid pump | PBT | Quickflow |  | Transport box
70824 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Plarad | MX-EC 45 TS | 2016 | ser. no. 89-32630, torque 4.500 Nm, with reaction arm, toolbox
70825 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Sortimo |  |  | Content
70826 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Sortimo |  |  | Content
70827 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Filling/testing device | Hydac
70828 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Filling/testing device | Hydac
70829 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-5MXT |  | Serial no. M5TRI332-025, transport box
70830 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-5MXT |  | Serial no. M5TRI332-024, transport box
70831 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Plarad | MX-ED 45 TS | 2011 | ser. no. 89-15748, torque 4.500 Nm, counter support, transport box
70832 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Thread cutting set |  |  |  | Inside/outside, transport box
70833 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Screw Clamping Cylinder (metric) | AS Tech | HWS16573150 |  | Pressure max. 1,344 bar, force max. 670 kN, stroke 8 mm
70834 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Screw Clamping Cylinder (metric) | AS Tech | HWS16573150 |  | Pressure max. 1,344 bar, force max. 670 kN, stroke 8 mm
70835 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Screw Clamping Cylinder (metric) | AS Tech | HWS16573178 |  | Pressure max. 1,768 bar, force max. 966 kN, stroke 8 mm
70836 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Screw Clamping Cylinders | AS Tech | HWS16573210 |  | ser. no. 20949.010, pressure max. 1.552 bar, force max. 1.200 kN
70837 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Screw Clamping Cylinders | AS Tech | HWS16573210 |  | ser. no. 13961.01, pressure max. 1,552 bar, force max. 1,200 kN
70838 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-10MXT |  | Ser. no. MI0TRI403-162
70839 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-20MXT |  | ser. no. C1470
70840 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-5MXT |  | Serial no. M5TRI705-029
70841 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-3MXT |  | Serial No. M3-EA-1240-123
70842 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-3MXT |  | Ser. no. E7450
70843 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | Avanti 3 |  | Serial No. A3TR1319-019
70844 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-3MXT |  | Ser. no. M3TR1412-402
70845 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-IMXT |  | Ser. No. MITR1342-208
70846 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | Avanti 1 |  | Ser. no. AITR1203-030
70847 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-IMXT |  | ser. no. TR1114-002
70848 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-.7MX1 |  | ser. no. 1122
70849 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | Avanti 3 |  | Serial No. A3TR1737-260
70850 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | Stealth 4 |  | Serial no. S4F0740-05
70851 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | Stealth 2 |  | Ser. no. S2F0824-196
70852 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench |  | LC1-WIP |  | Ser. no. 1205201-20
70853 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | Stealth 2 |  | Ser. no. S2F1710-95
70854 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | hydraulic torque wrench | Hytorc | HY-20MXT |  | ser. no. C1669
70855 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Screw Clamping Cylinders | AS Tech | HWS16573153 |  | ser. no. LG018, pressure max. 1,346 bar, force max. 1,222 kN
70856 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Screw Clamping Cylinders | AS Tech | HWS16573153 |  | ser. no. 7764.01, pressure max. 1,346 bar, force max. 1,222 kN
70857 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | electric hydraulic unit | Plarad | IQ-VAX 3.5 DR DW | 2016 | serial no. 84-31090, pressure max. 800 bar, mains voltage 400 V/50 Hz
70858 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | electric hydraulic unit | Hytorc | AEK-12.3/230 V |  | ser. no. 1542533
70859 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | electric hydraulic unit | AS Tech | EDP 25 005 000 |  | ser. no. 5207
70860 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | electric hydraulic unit | AS Tech | EDP 28102111 | 2008 | Order no. 4234.01, operating pressure 2,500 bar, function uncertain
70861 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | electric hydraulic unit | AS Tech | EDP28000002 | 2011 | Order no. 9597.02, operating pressure 2,500 bar
70862 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Hydraulic hand pump | Enerpac | MP110 8 1320BL |  | Pressure max. 110 bar, 1 lot of hydraulic hoses
70863 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Portable electronic Blade Adjustment System 6M+ | Enerson/SSB Wind | IBN Box | 2014 | Ser. no. G8-11 8837
70864 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Manual chain hoist | Yale | Lift360 |  | Load capacity 2.000 kg
70865 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Peli | 0450 Case |  | Content
70866 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Peli | 0450 Case |  | Content
70867 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Peli | 0450 Case |  | Content
70868 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Peli | 0450 Case |  | Content
70869 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Toolbox | Peli | 0450 Case |  | Content
70870 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Lifting traverse rotor 5M (banana) | Axzion |  | 2011 | Building no. 110100036-2-1, load capacity 140,000 kg, empty weight 2,600 kg
70871 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | Rotor hub tilting traverse 5M/6M | Axzion |  | 2010 | Building no. 110100037-2, load capacity 80,000 kg, empty weight 900 kg
70872 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | 20`- Sea container (standard box) |  |  |  | Container No. REPU560901 (5), contents: folding workbench with vice, storage shelf, media supply
70873 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | 20`- Sea container (standard box) |  |  |  | Container No. REPU564101(7), contents: storage rack, media supply, with contents
70874 | 27572 Bremerhaven, Seewindstr. 4 / Rückläufer aus Eemshaven (NL); | 1 | 20`- Sea container (standard box) |  |  |  | Container No. REPU 564401(6) , Contents: Workshop equipment, 3 telescopic pull-out cabinets, 6 pull-outs each, vice, storage shelf, drawer pull-out, 6 pull-outs, Contents: Hand tools, consumables, etc., Media supply